## Slide 1: Air Quality Monitoring Network
FINAL YEAR PROJECT · B.TECH ENVIRONMENTAL ENGINEERING
Aarav Sharma · Diya Patel · Prof. R. K. Mehta · Environmental Engineering, 2025–26
Low-cost sensors mapping pollution across a campus

## Slide 2: Agenda
01
Introduction
02
Literature & Gap
03
Proposed System
04
Implementation
05
Results
06
Conclusion

## Slide 3
KEY IDEA
Air quality can change block by block, but most cities have only a few monitors.
Why this project matters

## Slide 4: Problem statement
Sparse data
One station may cover a whole district.
High cost
Reference monitors cost lakhs of rupees each.
Low awareness
People rarely see local, live readings.

## Slide 5: Objectives
Image
Build nodes measuring PM2.5, PM10, CO₂ and humidity
Calibrate against a reference instrument
Publish a live campus air-quality map
Send alerts when levels cross safe limits

## Slide 6: Literature survey
Study | Approach | Limitation
Kim et al. | Low-cost PM sensors | Drift without calibration
City AQ networks | Dense sensor grids | Proprietary platforms
Patel & Joshi | LoRa-based nodes | Small pilot only
Representative summaries — replace with your own citations.

## Slide 7: System architecture
1
Measure
PMS5003 and CO₂ sensors in each node
2
Transmit
LoRa sends readings to a gateway
3
Calibrate
Correction model on the server
4
Visualise
Live map and alerts

## Slide 8: Block diagram
Block diagram / flowchart
Every module talks through one simple, testable interface.
Solar-powered nodes send readings over LoRa to a gateway, which forwards them to a time-series database. A calibration model corrects drift before the map is updated.

## Slide 9: Technology stack
ESP32 + LoRa
Node controller and radio
PMS5003
Particulate matter sensor
InfluxDB
Time-series storage
Leaflet
Interactive map

## Slide 10: Project timeline
Jul
Requirement study
Survey of users and existing tools
Aug
Design
Architecture, database and UI wireframes
Sep–Oct
Development
Modules built and unit tested
Nov
Testing
Integration and field testing
Dec
Report
Documentation and final review

## Slide 11: Implementation snapshots
Image 1
Sensor node
Weatherproof enclosure with solar panel
Image 2
Gateway
Rooftop LoRa receiver
Image 3
Live map
Colour-coded AQI by location

## Slide 12: Results
Chart: 
| 6 AM | 10 AM | 2 PM | 6 PM | 10 PM
PM2.5 (µg/m³) | 42 | 88 | 61 | 96 | 70
0.91
correlation with the reference monitor
Readings peak with morning and evening traffic, matching the reference station trend.
Sample data for illustration — replace with your own figures.

## Slide 13: Key outcomes
12
nodes deployed
0.91
correlation after calibration
1 min
update interval
Figures from our test setup (sample data).

## Slide 14: Conclusion
Image
Low-cost nodes give useful, local air-quality data
Calibration is essential for accuracy
A live map raises awareness quickly

## Slide 15: Future scope
City scale
Expand to nearby wards
Forecasting
Predict next-day AQI
Health alerts
Notify sensitive groups

## Slide 16: Thank you
Aarav Sharma · Diya Patel
Dept. of Environmental Engineering
Questions and suggestions are welcome.