| 2026 | Summer Internship Report · June–July 2025 # Internship Report Electrical Engineering Intern at SunPeak Renewables SUBMITTED BY Nikhil Choudhary Roll No. 22EE047 ORGANISATION SunPeak Renewables, Jaipur FACULTY MENTOR Dr. Pradeep Sharma |
| --- | --- |

INTERNSHIP CERTIFICATE This is to certify that Nikhil Choudhary, a student of Bachelor Of Technology (Electrical Engineering) at Your Engineering College, Jaipur, has successfully completed an internship with SunPeak Renewables, Jaipur, as Electrical Engineering Intern from 9 June 2025 to 1 August 2025. During the internship the student worked with our Design and Projects team and contributed to rooftop layout for a school. We found the student sincere, punctual and eager to learn, and we wish them every success. (Replace this page with the certificate issued by your organisation, if one was provided.) ______________________; ______________________. Mr. Ankit Jain Design Engineer, SunPeak Renewables; HR Department SunPeak Renewables.

# Declaration

I hereby declare that this internship report, submitted to the Department of Electrical Engineering, Your Engineering College, Jaipur, is a record of the work I carried out at SunPeak Renewables from 9 June 2025 to 1 August 2025 under the supervision of Mr. Ankit Jain and the guidance of Dr. Pradeep Sharma. The report has not been submitted elsewhere for any degree or diploma.

Place: ________________        Date: ________________

Nikhil Choudhary

# Acknowledgement

I am grateful to SunPeak Renewables for giving me the opportunity to work as Electrical Engineering Intern and to experience a professional environment first-hand.

I sincerely thank my industry mentor, Mr. Ankit Jain, for patient guidance, regular feedback and for trusting me with real work. I also thank the members of the Design and Projects team, who welcomed me and answered my questions.

I am thankful to Dr. Pradeep Sharma, my faculty mentor, and to the Head of the Department of Electrical Engineering for their support and encouragement.

Finally, I thank my family and friends for their constant motivation.

# Executive Summary

This report describes my 8-week internship at SunPeak Renewables, a company that designs and installs rooftop and ground-mounted solar power plants. During the internship I worked as Electrical Engineering Intern in the Design and Projects team. I assisted with site surveys, rooftop layouts, string sizing, single-line diagrams, installation supervision and commissioning tests.

| Organisation | SunPeak Renewables, Jaipur |
| --- | --- |
| Domain | Solar power EPC (engineering, procurement and construction) |
| Role | Electrical Engineering Intern |
| Department | Design and Projects |
| Duration | 9 June 2025 – 1 August 2025 (8 weeks) |
| Industry mentor | Mr. Ankit Jain, Design Engineer |
| Tools used | Design software (layout), AutoCAD, Clamp meter and insulation tester, Excel |

# Table of Contents

1. Company Profile	7

About the Organisation	7

Vision and Mission	7

Products and Services	7

Organisational Structure	7

2. Internship Overview	8

Objectives of the Internship	8

Role and Responsibilities	8

Tools and Technologies	8

3. Weekly Work Log	9

Week 1: Induction and basics of PV systems	9

Week 2: Site surveys for two rooftops	9

Week 3: Panel layout drafting	9

Week 4: String sizing and inverter selection	9

Week 5: Single-line diagram drafting	10

Week 6: Installation supervision	10

Week 7: Commissioning tests	10

Week 8: Report and handover	10

4. Projects Undertaken	11

Project 1: Rooftop layout for a school	11

Project 2: Commissioning checklist	11

5. Skills and Learning Outcomes	12

Challenges Faced	12

6. Conclusion	13

7. Appendix: Attendance and Evaluation	14

# 1. Company Profile

## About the Organisation

SunPeak Renewables designs, supplies and installs rooftop and ground-mounted solar power plants for homes, schools and industries. Its design team prepares layouts, single-line diagrams and energy estimates, and its project teams handle installation and commissioning.

## Vision and Mission

Vision To make clean energy the obvious choice for every rooftop.

Mission To deliver safe, efficient solar plants with honest energy estimates and reliable service.

## Products and Services

Rooftop solar for homes and institutions

Industrial and ground-mounted plants

Operation and maintenance

Energy audits

## Organisational Structure

The organisation is structured into functional teams, each led by a manager who reports to the leadership team. Interns are attached to one team and assigned an industry mentor.

| Department | Main responsibilities |
| --- | --- |
| Design | Layouts, SLDs, energy estimates |
| Projects | Installation and commissioning |
| O&M | Monitoring and maintenance |
| Sales | Site surveys and proposals |

# 2. Internship Overview

## Objectives of the Internship

Understand the design of grid-connected solar systems.

Learn installation and safety practice.

Gain exposure to commissioning and testing.

## Role and Responsibilities

Site survey measurements

Drafting layouts

String and cable sizing

Commissioning checklists

## Tools and Technologies

| Tool / technology | How it was used |
| --- | --- |
| Layout software | Panel placement and shading checks |
| AutoCAD | Single-line diagrams |
| Clamp meter and insulation tester | Commissioning tests |
| Excel | String sizing and BOQ |

# 3. Weekly Work Log

The table below summarises the work done in each week. Detailed notes for each week follow.

| Week | Dates | Tasks performed | Key learning |
| --- | --- | --- | --- |
| 1 | 9–13 Jun | Induction and basics of PV systems | Components of a grid-tied plant |
| 2 | 16–20 Jun | Site surveys for two rooftops | Measuring roofs and checking shading |
| 3 | 23–27 Jun | Panel layout drafting | Row spacing and walkways |
| 4 | 30 Jun–4 Jul | String sizing and inverter selection | Voltage windows and temperature effects |
| 5 | 7–11 Jul | Single-line diagram drafting | Protection devices and earthing |
| 6 | 14–18 Jul | Installation supervision | Structure, cabling and safety |
| 7 | 21–25 Jul | Commissioning tests | IR, polarity and Voc checks |
| 8 | 28 Jul–1 Aug | Report and handover | Documentation for clients |

## Week 1: Induction and basics of PV systems

Work done: Induction and basics of PV systems. I kept a daily diary of tasks and questions and reviewed it with my mentor at the end of the week.

Learning: Components of a grid-tied plant.

## Week 2: Site surveys for two rooftops

Work done: Site surveys for two rooftops. Most of the week was spent shadowing team members and then repeating the tasks independently.

Learning: Measuring roofs and checking shading.

## Week 3: Panel layout drafting

Work done: Panel layout drafting. At the weekly review my mentor suggested improvements, which I applied the following week.

Learning: Row spacing and walkways.

## Week 4: String sizing and inverter selection

Work done: String sizing and inverter selection. I documented the steps I followed so that the next intern could repeat them easily.

Learning: Voltage windows and temperature effects.

## Week 5: Single-line diagram drafting

Work done: Single-line diagram drafting. I kept a daily diary of tasks and questions and reviewed it with my mentor at the end of the week.

Learning: Protection devices and earthing.

## Week 6: Installation supervision

Work done: Installation supervision. Most of the week was spent shadowing team members and then repeating the tasks independently.

Learning: Structure, cabling and safety.

## Week 7: Commissioning tests

Work done: Commissioning tests. At the weekly review my mentor suggested improvements, which I applied the following week.

Learning: IR, polarity and Voc checks.

## Week 8: Report and handover

Work done: Report and handover. I documented the steps I followed so that the next intern could repeat them easily.

Learning: Documentation for clients.

# 4. Projects Undertaken

## Project 1: Rooftop layout for a school

Problem: A school wanted to use its terrace for solar.

Approach: Surveyed the roof, drafted the panel layout and estimated generation.

Outcome: Proposal prepared with an annual generation estimate (sample).

Figure placeholder — screenshot, drawing or photo of your work

Figure 1: Rooftop layout for a school

## Project 2: Commissioning checklist

Problem: Checks were done from memory.

Approach: Prepared a step-by-step commissioning checklist with acceptance values.

Outcome: Used on two subsequent installations.

Figure placeholder — screenshot, drawing or photo of your work

Figure 2: Commissioning checklist

# 5. Skills and Learning Outcomes

| Skill area | What I learned |
| --- | --- |
| Technical | PV design, string sizing, SLDs, testing |
| Safety | Working at height, electrical isolation |
| Professional | Client site visits, documentation |

## Challenges Faced

Working on rooftops in summer heat

Matching inverter limits with string configurations

# 6. Conclusion

The internship gave me practical knowledge of solar system design and installation and strengthened my interest in renewable energy.

Suggestions for future interns Revise basic PV characteristics and carry a cap, water bottle and safety shoes for site visits.

# 7. Appendix: Attendance and Evaluation

| Week | Days present | Mentor remarks | Mentor sign |
| --- | --- | --- | --- |
| 1 | 5 / 5 |  |  |
| 2 | 5 / 5 |  |  |
| 3 | 5 / 5 |  |  |
| 4 | 5 / 5 |  |  |
| 5 | 5 / 5 |  |  |
| 6 | 5 / 5 |  |  |
| 7 | 5 / 5 |  |  |
| 8 | 5 / 5 |  |  |

Mentor evaluation (to be filled by the organisation)

| Criterion | Excellent | Good | Average | Needs work |
| --- | --- | --- | --- | --- |
| Technical skills |  |  |  |  |
| Communication |  |  |  |  |
| Punctuality |  |  |  |  |
| Teamwork |  |  |  |  |
| Initiative |  |  |  |  |