AN INTERNSHIP REPORT ON # Internship Report Site Engineer Intern at Shree Ganesh Infra Projects Submitted in partial fulfilment of the requirements for the award of the degree of Bachelor Of Engineering BACHELOR OF ENGINEERING in Civil Engineering Submitted by Harsh Patel Enrolment No. 220410106045; Organisation Shree Ganesh Infra Projects, Ahmedabad. Department of Civil Engineering Your Government Engineering College, Gandhinagar Academic Year 2025–26

INTERNSHIP CERTIFICATE This is to certify that Harsh Patel, a student of Bachelor Of Engineering (Civil Engineering) at Your Government Engineering College, Gandhinagar, has successfully completed an internship with Shree Ganesh Infra Projects, Ahmedabad, as Site Engineer Intern from 9 June 2025 to 2 August 2025. During the internship the student worked with our Projects (Site Execution) team and contributed to bar bending schedule for a typical floor. We found the student sincere, punctual and eager to learn, and we wish them every success. (Replace this page with the certificate issued by your organisation, if one was provided.) ______________________; ______________________. Mr. Mehul Desai Project Manager, Shree Ganesh Infra Projects; HR Department Shree Ganesh Infra Projects.

# Declaration

I hereby declare that this internship report, submitted to the Department of Civil Engineering, Your Government Engineering College, Gandhinagar, is a record of the work I carried out at Shree Ganesh Infra Projects from 9 June 2025 to 2 August 2025 under the supervision of Mr. Mehul Desai and the guidance of Prof. N. J. Trivedi. The report has not been submitted elsewhere for any degree or diploma.

Place: ________________        Date: ________________

Harsh Patel

# Acknowledgement

I am grateful to Shree Ganesh Infra Projects for giving me the opportunity to work as Site Engineer Intern and to experience a professional environment first-hand.

I sincerely thank my industry mentor, Mr. Mehul Desai, for patient guidance, regular feedback and for trusting me with real work. I also thank the members of the Projects (Site Execution) team, who welcomed me and answered my questions.

I am thankful to Prof. N. J. Trivedi, my faculty mentor, and to the Head of the Department of Civil Engineering for their support and encouragement.

Finally, I thank my family and friends for their constant motivation.

# Executive Summary

This report describes my 8-week internship at Shree Ganesh Infra Projects, a construction company building residential and commercial projects. During the internship I worked as Site Engineer Intern in the Projects (Site Execution) team. I observed and assisted in reinforcement checking, concreting, shuttering, quality tests and billing for a G+12 residential building.

| Organisation | Shree Ganesh Infra Projects, Ahmedabad |
| --- | --- |
| Domain | Building construction |
| Role | Site Engineer Intern |
| Department | Projects (Site Execution) |
| Duration | 9 June 2025 – 2 August 2025 (8 weeks) |
| Industry mentor | Mr. Mehul Desai, Project Manager |
| Tools used | AutoCAD drawings, Auto level, Slump cone, Excel |

# Table of Contents

1. Company Profile	7

About the Organisation	7

Vision and Mission	7

Products and Services	7

Organisational Structure	7

2. Internship Overview	8

Objectives of the Internship	8

Role and Responsibilities	8

Tools and Technologies	8

3. Weekly Work Log	9

4. Projects Undertaken	10

Project 1: Bar bending schedule for a typical floor	10

Project 2: Concrete quality record	10

5. Skills and Learning Outcomes	11

Challenges Faced	11

6. Conclusion	12

# 1. Company Profile

## About the Organisation

Shree Ganesh Infra Projects is a construction company that executes residential towers, commercial complexes and institutional buildings. The project where I trained is a G+12 residential building with two basement levels.

## Vision and Mission

Vision To build safe, durable and well-finished buildings on time.

Mission To follow sound engineering practice, strict safety rules and transparent communication with clients.

## Products and Services

Residential and commercial construction

Structural works and finishing

Project management

Renovation and repair works

## Organisational Structure

The organisation is structured into functional teams, each led by a manager who reports to the leadership team. Interns are attached to one team and assigned an industry mentor.

| Department | Main responsibilities |
| --- | --- |
| Projects | Site execution, planning and supervision |
| Quality Control | Material testing and inspection |
| Safety | Site safety and training |
| Procurement | Materials and subcontractors |
| Accounts | Billing and payments |

# 2. Internship Overview

## Objectives of the Internship

Relate classroom concepts to real construction activities.

Learn site supervision, quality control and safety.

Understand drawings, quantities and billing.

## Role and Responsibilities

Checking reinforcement against drawings

Recording concrete pours and cube samples

Measuring quantities for bills

Attending site meetings

## Tools and Technologies

| Tool / technology | How it was used |
| --- | --- |
| Structural drawings | Checking bar sizes, spacing and lap lengths |
| Auto level | Transferring levels for slabs |
| Slump cone and cube moulds | Concrete workability and strength tests |
| Excel | Measurement sheets and bar bending schedules |

# 3. Weekly Work Log

The table below summarises the work done in each week of the internship.

| Week | Dates | Tasks performed | Key learning |
| --- | --- | --- | --- |
| 1 | 9–13 Jun | Site induction, safety training, drawing study | Site layout and safety rules |
| 2 | 16–20 Jun | Reinforcement checking for columns | Lap length and cover requirements |
| 3 | 23–27 Jun | Slab shuttering and levelling | Using an auto level |
| 4 | 30 Jun–4 Jul | Slab concreting and cube casting | Slump test and curing practice |
| 5 | 7–11 Jul | Bar bending schedule preparation | Quantities from drawings |
| 6 | 14–18 Jul | Brickwork and plaster supervision | Mortar ratios and line-level checks |
| 7 | 21–25 Jul | Billing and measurement book | How contractor bills are verified |
| 8 | 28 Jul–1 Aug | Report preparation and review | Documenting site work |

# 4. Projects Undertaken

## Project 1: Bar bending schedule for a typical floor

Problem: The site needed a BBS for the 7th-floor slab and beams.

Approach: Prepared the schedule in Excel from drawings and verified it with the site engineer.

Outcome: Used for cutting and bending with minor corrections.

## Project 2: Concrete quality record

Problem: Cube test records were scattered.

Approach: Organised cube casting and test results in a register with dates and grades.

Outcome: Made it easier to check 7-day and 28-day strengths.

# 5. Skills and Learning Outcomes

| Skill area | What I learned |
| --- | --- |
| Technical | Reading drawings, BBS, levelling, concrete tests |
| Management | Coordinating labour and materials, daily reports |
| Safety | PPE, scaffolding checks, toolbox talks |

## Challenges Faced

Working outdoors during the monsoon

Understanding local site terminology

# 6. Conclusion

The internship connected theory with practice. I now understand the sequence of construction activities and the importance of quality and safety on site.

Suggestions for future interns Carry a notebook and measuring tape, and ask the foreman to explain each activity.